## Slide 1
Fire Safety

## Slide 2: Learning Objectives
By the end of this module you will be able to:
List the 3 things needed to start a fire
Describe the 3 causes of death in a fire
Name the most common causes of fire
Understand why risk assessments are necessary
Identify the different class of fires
Pass the test!

## Slide 3: INSTRUCTIONS
Go through the slides
2. Pay particular attention to...
3. Take the test
Key Learning Point

## Slide 4: RISK ASSESSMENT
It is a legal requirement for ALL organisations to:
carryout a risk assessment
Implement emergency procedures to be taken in the event of a fire
The larger the organisation the more complex the arrangements will be
The organisation must tell you what their local arrangements are:
How to activate the fire alarm
Where fire alarms are situated
What are the escape routes
What to do to evacuate walking patients, patients confined to bed and members of the public
Key Learning Point

## Slide 5: CONSEQUENCES
Fires can lead to DEATH- Deaths can be caused by:
Being overcome by the inhalation of smoke or gas
Burns
Being overcome by inhalation of smoke or gas and burns
Key Learning Point

## Slide 6: COMMON CAUSES OF FIRE
Fires need three things to start:
1 – a source of ignition (heat)
2- a source of fuel (something that burns)
3- oxygen
Arson
Faulty appliances and leads
The misuse of equipment
Articles being left to close to heat
Key Learning Point

## Slide 7: FIRE!
Fires need three things to start:
1 – a source of ignition (heat)
2- a source of fuel (something that burns)
3- oxygen:
Arson
Faulty appliances and leads
The misuse of equipment
Articles being left to close to heat
COMMON CAUSES OF FIRE
Key Learning Point

## Slide 8: TYPES OF FIRE
Class A fires are ordinary materials like burning paper, wood, cardboard, plastics etc.
Class B fires involve flammable or combustible liquids such as gasoline
Class C fires involve energised electrical equipment, such as appliances, switches, panel boxes, power tools, hot plates and stirrers. Water is usually a dangerous extinguishing medium for class C fires because of the risk of electrical shock unless a specialised water mist extinguisher is used
Class D fires involve combustible metals, such as magnesium, titanium, potassium and sodium These materials burn at high temperatures and will react violently with water, air, and/or other chemicals. Handle with care!!
Key Learning Point

## Slide 9: FIRE EXTINGUISHERS
FOAM -Red with cream strip - Can be used on solids such as wood, plastics and liquids such as petrol/paints. Safe to use near electrical appliances. Extinguishes by smothering liquids with film or cooling and smothering solids.
CARBON DIOXIDE -Red with black strip- can be used on electrical fires and flammable liquids such as paraffin, petrol and oil. Extinguishes by displacing oxygen. Does not cool and not suitable for solids.
NO POST-FIRE SECURITY, meaning the fire could easily reignite
WATER- Red- Can be used on Class A fires only, e.g. solids such as wood, plastics. Extinguishes by cooling. Not safe on petrol/oil fires and not to be used near electrical equipment
POWDER- Red with blue strip - Can be used on solids such as wood, plastics, flammable liquids such as petrol, paints, oil. Safe to use near electrical appliances. Extinguishes by smothering the flames. Does not cool very well.
Key Learning Point

## Slide 10: IN THE EVENT OF A FIRE
Raise the alarm
Extinguish the fire if you are able to do so and without putting yourself at risk
Follow the emergency plan for the area that you are working in
It is your responsibility to ask if you are unsure of procedures- don’t leave it until the alarm rings!

## Slide 11: Need to know more?
www.firesafe.org.uk
https://www.gov.uk/government/.../managing-healthcare-fire-safety
ww.uhs.nhs.uk/Media/suhtideal/.../FireSafety/FireSafetyLegislation.pdf